## Hospital Equipment
# | HOSPITAL EQUIPMENT | UNOPS | Total Amount Requested | UniversH Ratiani | Unit Price $ | Total Price $ | Delivery | Country of Origin | Note
1 | Pulmonary Ventilator: resuscitation model, works on compressed air and oxygen. With stand, universal (pediatric and adult) with invasive and non invasive breathing regimes. | LTA | 4 | 4 | 16000 | 64000 | 45 Days FCA Italy | Italy | 50 Units available for urgent delivery in mid-July, with additional 60 by the end of July. Prices are attractive. Also 3 different LTAs in place
3 | basic patient monitor system: (ECG, Resp, HR, NIBP,Temp, SpO2,) with touch screen. | LTA | 40 | 40 | 320 | 12800 | 14 Days Shanghai or Hong Kong | China | Multiple LTAs in place; so back-up exists
8 | ICU bed: four-section ICU medical bed (with electric control) for adults, remote control, control panel on the sides, with locking function. Automatic CPR, Trendelenburg - / +; Max Weight of the patient 220 kg., Divided into appropriate sections, with a mattress resistant to washing-chemical treatment. | TBD (tender reuse,ადგილობრივი ივერ მედი) | 40 | 40 | $1,500 | 60000 | TBD | Turkey | Delivery details to be confirmed once engaging supplier further
11 | Defibrillator biphasic: 360 Julian, adult and pediatric with multiple electrodes, cardio version, self-test and diagnostic functions | LTA (მოტოებსაც ჭირდება) | 4 | 4 | 3450 | 13800 | 21 Days, Hong Kong | China | Depending What kind of Defibrilator is needed . AED or Standard Medaical
14 | Infusion pump, volumetric: Drip chamber, compatible with different manufacturer systems | LTA | 70 | 70 | 400 | 28000 | 27 Days to New Dehli | China
17 | 12 channel cardiograph machine with cart for a4 paper: Cable suspension,for clamping multiple use electrodes and use of adhesive electrodes | LTA | 4 | 4 | 1400 | 5600 | 14 day to Shanghai 15 day to Hong Kong | China | Contec-ECG1200G Edan-SE-1200 Express
20 | Laryngoscope set, Macintosh, with1,2,3,4 size blades (high quality) | ადგილობრივი, მცირე ზომის | 5 | 5 | 50 | 250 | 15 days to Lahore | Pakistan
23 | Ambu - Masks for adults | ადგილობრივი, მცირე ზომის | 8 | 8 | 28 | 224 | 6 Weeks to Tbilisi | Italy | Local Supplier
28 | X-ray machine, mobile: fully digital, integrated with a high-resolution screen that will instantly display the patient's image. Wireless Detector 35 * 35 or larger, generator with not less than 15KW power, with integrated power supply that provides imaging for at least 30 patients with maximum power. It should be easy to move eround clinic. LAN / WIFi support, 230V / 50Hz. | LTA | 1 | 1 | 51954 | 51954 | 21 days FCA Florence - FLR | Italy | Italray - Corsix DR
30 | Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more;​ | LTA | 70 | 70 | 10.5 | 735 | 28 days, Shanghai | Taiwan
36 | Portable pulse oximeter for adults | LTA | 20 | 20 | 150 | 3000 | 30 Days, Beijing | China | CREATIVE- PC-60F Yuwell - YX100 CREATIVE-SP-20
41 | stretcher for adults, with maximum patient weight 200 kg or higher | ადგილობრივი საწოლებთან ერთად 6 კვირაში | 5 | 5 | $1,650 | 8250 | 6 Weeks to Tbilsi | Turkey | LTA and Local Supplier Available
42 | negatoscope 35*42 | ადგილობრივი საწოლებთან ერთად 6 კვირაში | 3 | 3 | $270 | 810 | 6 weeks to Tbilisi | Italy | Local Supplier
48 | mobile Ultrasound machine high-end, at least 4 transmitters, with cart, integrated batteries and With different software capabilities. | LTA | 1 | 1 | 29791 | 29791 | 30 days, Florance 42 Day Hong Kong 21 Days, Rotterdam | Italy China US | Esaote- MyLab Sigma Mindray - DC-40 Philips -Affiniti 30
| Laparoscopic set | ადგილობრივი | 1 | 1 | 14500 | 14500
PCR Analizer set with fully automated extractor machine
| SUM |  |  |  |  | 293714
* This Infection deseases Hospital will be for 30 adults and 10 children

## Emergency Service Radio Station (hidden)
# | Items | Quantity
1 | Set of Tetra standard hand Radio station | 490
2 | Set of Tetra standard Car Radio station | 380
3 | Tetra system dispatch control and monitoring set | 43

## Data Validation (hidden)
Selection:
Available through existing LTA/Contracts
Available stock
Not available