[image: image2.jpg]V|2

LogamRIaIEMy, Mauanmasaen
SIREMAIENEIE AIENCMS,
BRMANL, SOBAROTCMANLS 23
LMBNOTARN LS8N, LOANBNLSRT



Annex №16
Labour Inspection Department 

 Let’s create a safe working environment together!
General Recommendations related to the Infection (COVID-19) caused by the Novel Coronavirus (SARS-CoV-2) for Hotels and Open / Closed Pools

Measures to be taken in the work space by the administration of all types of hotels:

Measures to be taken in the working space by the Administration of all types of hotels:
o
At the public entrance, provide thermal screening using video screening or a remote temperature measuring device to monitor the health of staff/visitors by implementing temperature screening before starting work. If a fever case is identified, make a record and contact 112 service hotline immediately;
o
Post information about COVID-19 preventive measures in a visible place. It is possible to use video / audio equipment;
o   Provide proper cleaning / disinfection of a hotel establishment (upon pollution, but not less than 3 times a day), as well as every 2 hours to treat all surfaces that are frequently touched by hotel visitors or people in the space (including doorknobs and window handles, handrails, elevator buttons and other frequently touched surfaces);

o Maintain a distance in the common areas of the hotel  ( at least 2 m);
o
Ensure that the establishment accommodates disposable wipes or other hygienic containers used by any person in the hotel area, which will include a disposable plastic package; 
o
Provide natural ventilation of indoor spaces / locations in the hotel space several times a day and ensure wet cleaning/disinfection of human concentration areas;
o Use of bunk beds is not allowed;
o When using shared bathrooms, disinfect them after every use in accordance with the recommendations set forth in this Rule;
o
Provide hotel staff and visitors with appropriate collective protectors:
         Disinfectant barrier - at the entrance of the building, indicating the relevant mandatory mark;

Transparent protection barriers/shields - in case of employees' communication/inreaction with third parties (at the reception);
o
70% alcohol-based hand sanitizers and signage (rules) for their proper use thereof should be available in a visible and convenient place for employees and guests;
o    ensure  natural ventilation in enclosed spaces. If this is not possible, use an increased continuous mode of artificial ventilation, with increased concentration of air intake from the external space, circulation and extraction; Establish engineering control over its operation.

Apartments and flats:
o It is recommended to introduce remote check-in and checkout;
o
After the checkout, the rooms should be cleaned according to the following principle: disinfection, 4-hour ventilation, housekeeping & cleaning;
o 
Particular attention should be paid to cleaning the frequently touched surfaces (for example, bed handles, bedside-tables) and cleaning and disinfection of frequently contaminating sanitary areas (shower rooms/ bathrooms and toilets) as necessary.

Measures for food supply:
o
Use the individual hosting method. If case of buffet service, in order to reduce contact of the staff with customers, ensure installation of a transparent sneeze guard at the buffet. Maintain a safe distance to the threshold with appropriate indicators;
o Place utensils to be used together with the food outside the sneeze guard;
o Use electronic menus (disposable) menus only;
o 
Use disposable table cloths, or limit them as much as possible because cleaning and disinfecting dining tables is more convenient and hygienically reliable after each use;
o
In the service area (bar zone), provide beverage services individually, with a table delivery service to avoid direct contact of customers with bartenders;
o
To prevent congestion at the front desk, ensure check-in of guests using a pre-booking system;
o
Any area where guests queue should be clearly marked for appropriate physical distancing (floor markers for distance);
o Ensure staff and guests hand hygiene by water and liquid soap.
Requirements to public catering facilities with outdoor seating:
o Keep a safe distance between the customer tables of at least 2 meters;
o The distance from the back of one chair to the back of another chair shall be more than 1 m apart;
o Place no more than 6 guests per table; 
o 
The area required for one person should be at least 2.25 square metres.

o 
If it is not possible to maintain a two-metre safe physical distance, a temporary protective barrier may be used. However: 
         It is not allowed to use sneeze guards in the common dining area up to 30 m2;

If the area is above 31 m2, it is possible to use sneeze guards in no more than 50% of the total dining area (in this case, the accommodation area for 1 person should be not less than 1.8 m2).
o
As an exception, it is possible to sit a child under twelve (12) years of age at one table  with his/her family members;
o
If it is not possible to maintain a two-metre safe physical distance, a temporary protective barrier may be used;
o Maintain a safe distance between tables and walking lane outside buildings as much as possible;
o
Provide a printed (single-use) menu for guests. In case of offering an electronic menu, place disinfectants for hygienic hand processing with the menu board, indicating the appropriate mandatory;
o
To illustrate the requirements of this Rule, it is mandatory to mark the layout of the tables and the appropriate distance, with the appropriate designations.
Requirements to public catering facilities with indoor seating:
Ensure the layout of tables and seating areas in the hall according to the following requirements:
o Keep a safe distance between the customer tables of at least 2 meters;

o Guests face each other from a distance of at least 1 m;

o 
The area required for one person should be at least 2.25 square metres.

o   The distance from the back of one chair to the back of another chair shall be more than 1 m apart;

o Place no more than 6 guests per table; 

o As an exception, it is possible to sit a child under twelve (12) years of age at one table  with his/her family members;

o  If it is not possible to maintain a two-metre safe physical distance, a temporary protective barrier may be used. However: 

         It is not allowed to use sneeze guards in the common dining area up to 30 m2;


If the area is above 31 m2, it is possible to use sneeze guards in no more than 50% of the total dining area (in this case, the accommodation area for 1 person should be not less than 1.8 m2).

o ensure  natural ventilation in enclosed spaces. If this is not possible, use an increased continuous mode of artificial ventilation, with increased concentration of air intake from the external space, circulation and extraction; Establish engineering control over its operation

o Use the individual hosting method.

o  Provide a printed (single-use) menu for guests. In case of offering an electronic menu, place disinfectants for hygienic hand processing with the menu board, indicating the appropriate mandatory mark;

o
In the service area (bar zone), provide beverage services individually, with a table delivery service to avoid direct contact of customers with bartenders;

o
To illustrate the requirements of this Rule, it is mandatory to mark the layout of the tables and the appropriate distance, with the appropriate designations

The following procedures should be followed when hand washing dishes:

· Kitchen utensils should be washed and dried in a specially designated area in the following manner:

· Utensils should be mechanically cleaned from leftovers;

· Utensils should be rinsed with water and detergent at a temperature of not less than 40°C in the first sink;

· Rinse again with water not less than 40°C and using less detergent in the second sink;

· Pass at least 65 °C with hot running water;

· Drain and dry on a sink strainer sieve (drainboards);

o Detailed inventory - boards, spatulas, whisks, etc. should be dried after washing with hot water. Kitchen utensils are washed in hot water with detergents. Cutlery must pass at least 65⁰ C in hot water and should be drained;

o When utensils are washed and sanitized by hand, a three compartment sink shall be provided for dining utensils and a two compartment sink shall be provided for washing glassware and dining appliances. It is permissible to wash dining utensils and appliances in two compartment sinks in a limited range of organizations;

o In beer bars, cups and wineglasses are washed with hot water at a temperature of not less than 45-50⁰C and using detergents and disinfectants;

o Signage and instructions for washing dishes and inventory should be posted on the wall in washing departments indicating the concentrations of detergents and disinfectants used.

Dispensers:
o
Regular checks should be carried out to ensure the proper functioning of soap and disinfectant solution dispensers, hand dryers, disposable tissue dispensers, and other similar devices;
o
Installing units to dispense disinfectant gel in the different areas of the hotel, including the public restrooms used by guests and by staff, and other areas of interest (e.g. entrance to the dining hall, restaurants, and bars).
Linens hygiene observance:
o    The bed linen should be changed as needed;
o

Used linen should be put in special bag designed for this purpose or placed in another container with a lid. It is strictly forbidden to collect linen on the floor, shake out, and transport without package;
o
Linen (as well as towels) should be washed in the laundry of the establishment or in special laundries on a contractual basis. In the latter case, it is necessary to have an independent technological line for the entire cycle of hotel linen washing (acceptance, sorting, washing, drying, ironing, shelving, storage and delivery);

o
If outdoor services are used for linen management, the following steps should be taken:
         Linen collection;
         Transportation;
         Washing and disinfection;
         Ironing;
         Packaging;
         Clean linen storageა;
o
To process linen in the laundry, ensure the flow of technological processes to prevent the crossing of dirty with clean linen. If the facility fails to fully separate the flow of dirty and clean linen, then it may be possible to pack it;

o
The appropriate washing program was selected according to the degree of contamination and the type of linen. In order to prevent the possible spread of COVID-19, it is advisable to use a washing temperature of not less than 60⁰C and a combination of proper washing powder. In case of impossibility to provide the mentioned temperature regime, the washing is carried out by decontamination with appropriate disinfectants (eg 0.5% chlorine-containing solution).
Indoor and outdoor swimming pools in the hotel:
o Considerations for operation of indoor and outdoor swimming pools:
         Allow 1 person per 6 m2 area of ​​the pool;

Provision of quality water in accordance with the hygienic requirements of the pools, for which it is necessary to renew the water, which is provided mainly in large pools at the expense of recirculation, and in small pools (not more than 70 m2 in the bathroom area) with continuous water flow;

Water exchange in pool baths should be provided with water recirculation, they should be cleaned, decontaminated and water should be added continuously, at least 10% every 8 hours of pool operation;
o
Replacing water in small pools is permissible with a continuous flow of water from the water supply. However, waiting more than 24 hours before cleaning and disinfecting these areas;
o
When using the pool, the residual amounts of disinfectant agent should be controlled in water (a residual concentration of free chlorine of greater than or equal to 0.5 mg/L after at least 30 minutes contact time at pH less than 8.0. Residual chlorine should be maintained throughout the distribution system);
o
Disinfection of pools after running water and mechanical cleaning, double irrigation method, initially with 0.6-0.8 L/m2 of disinfectant, and then with a solution of active chlorine in the concentration of  100 mg/dm3, by washing the disinfectant solution with hot water, no earlier than 1 hour;

o Before and after each use of a deckchair, treat it with disinfectant solution; 
  o  
An individual towel should be provided for the consumer - in a single-use package. After use, the towel stays in place. The service staff, equipped with gloves, mask, special footwear and coat, should collect towels once in a disposable bag and place them in a marked container. Washing-disinfection should be carried out in accordance with the recommendations defined in this Rule;
o
Keep a safe distance between the deckchairs (not less than 2 meters) (except for children under age of 12 years);
o Prohibit the use of soft, absorbent covers for deckchairs;
o Ensure frequent disinfection of dressing rooms and shower rooms ;
o
Clean the space of outdoor swimming pools according to the rules of cleaning rooms and public spaces - wet cleaning / disinfection according to Annex to Order № 01-123/o on Appropriate Measures to be Taken for  Prevention and Management of Infection (COVID-19) caused by Novel Coronavirus (SARS-CoV-2) issued by Minister of Internally Displaced Persons from the Occupied Territories, Labour, Health and Social Affairs.
All types of outdoor and indoor swimming pools::
o Considerations for operation of indoor and outdoor swimming pools: 
         Allow 1 person per 6 m2 area of ​​the pool;

The internal layout of the main premises of the pool must comply with the hygienic principle of flow: visitors are promoted according to the functional scheme - wardrobe, cloakroom, shower, foot bath, pool bath;

o The visitor cannot go to the pool, bypassing the shower;
o
Swimming pools should be equipped with systems providing water exchange in the pool baths. According to the principle of water exchange, pools are divided into:
         Recirculation (circulating) type;
         Flow type; 
         With a periodic change of water; 
         Seawater swimming pools in which recirculation systems are not recommended and it is advisable to have a running system with mandatory supply of purified and non-permeable water;
o
The quality of water supplied to the basins shall comply with the parameters specified in the Decree №58 of the Government of Georgia of January 15, 2014 on the Approval of Technical Regulations on Drinking Water;
o
In order to provide quality water in accordance with the hygienic requirements of the pools, it is necessary to renew the water in the baths, which is provided in large pools mainly at the expense of recirculation, and A continuous flow water exchange system is recommended in small pools (of not more than 70 m2);
o 
Water exchange in pool baths should be provided with water recirculation, they should be cleaned, decontaminated and water should be added continuously, at least 10% every 8 hours of pool operation;

o 
Replacement of water in small pools is allowed with continuous flow of water from the pipeline. However, the total water change time is no more than 24 hours;

o
Disinfection of pools after running water and mechanical cleaning, double irrigation method, initially with 0.6-0.8 L/m2 of disinfectant, and then with a solution of active chlorine in the concentration of  100 mg/dm3, by washing the disinfectant solution with hot water, no earlier than 1 hour;

o
When using the pool, the residual amounts of disinfectant agent should be controlled in water (a residual concentration of free chlorine of greater than or equal to 0.5 mg/L after at least 30 minutes contact time at pH less than 8.0. Residual chlorine should be maintained throughout the distribution system);

o
The administration of swimming pools is obliged to provide industrial-laboratory control of water quality by determining the following indicators and frequency of sampling:

The main microbiological indicators (coliform bacteria, thermo-tolerant coliform bacteria, coliforms and lecithinase positive staphylococci), as well as the residual amount of reagents used to improve the quality of ammonium nitrogen, chlorides and pool water - once in 10 days

Organoleptic indicators (turbidity, color, smell) - once a day, in the day or evening hours;
         • Residual content of disinfectant reagents (chlorine, bromine, ozone) - before and after the start of pool operation;
o Before and after each use of a deckchair, treat it with disinfectant solution; 

  o  
An individual towel should be provided for the consumer - in a single-use package. After use, the towel stays in place. The service staff, equipped with gloves, mask, special footwear and coat, should collect towels once in a disposable bag and place them in a marked container. Washing-disinfection should be carried out in accordance with the recommendations defined in this Rule;

o
Keep a safe distance between the deckchairs (not less than 2 meters) (except for children under age of 12 years);

o Prohibit the use of soft, absorbent covers for deckchairs;

o Ensure frequent disinfection of dressing rooms and shower rooms ;

Water quality indicators and standards for pool baths
	Indicator                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                 
	Standards                                                                                                                                                                                                                                                                                                                                                                                                                                   

	Physical and chemical parameters 

	Turbidity  mg/dm, max
	2

	Color in degrees, max                                                                                                                                                                                                                                                                                                               
	20                                                                                                                                                                                                                                                                                    

	Odo0r category, max                                                                                                                                                                                                                                                                                                                                                                            
	3

	Aammonium nitrogen, mg/dm3
	No more than 2 times increase will be allowed compared to the original content                                                                                                                                                                                                                                                                                  

	Chlorides, mg/dm3                                                                                                                                                                                                                                                                                                                                                                 
	An increase of not more than 200 mg/dm3 with the initial content is allowed

	Residual free chlorine mg/dm3                                                                                                                                                                                                                                                                                                 
	max 0,5

	Residual ozone mg/dm3                                                                                                                                                                                                                                                                                                                                                               
	max 0,1                                                                                                                                                                                                                                                                                                                                                                               

	Residual bromine, mg/dm3
	max 0,8-1,5

	Key mi9crobological parameters 

	Coiforms in 100 ml                                                                                                                                                                                       
	Not found

	Thermotolerant coliforms in 100 ml
	Not found

	Coliphage level in 100 ml, less than
	2

	Lecithinase -containing staphylococci in 1000 ml                                                                
	Not found

	Additional microbiological and parasitological indicators

	Infectious disease triggers in 100 Kc                                                                                                                                                                                                                                                                                                                                                        
	Not found

	Pseudomonas aeruginosa in 1000 ml
	       “_ 


	Lamblia cysts in 50 L
	       “_ 


	Helminth egg-shells in 50 L                                                                                                                                                                                                                                                                                                                                                                                                      
	       “_ 



Sports and entertainment centers:
o Prohibit operation of children's entertainment zones;
o
Temporarily, prior to issuance of the relevant permit, prohibit operation of gyms for general use;
o 
Prohibit operation of entertainment and sports zones located in the interior of the hotel. The equipment allocated for billiards, tennis and other sports / entertainment centers in the outdoor area of ​​the hotel should be treated with disinfectant solution after each use.

Special Requirements:
Since hotel visitors have primary contact with hotel reception staff, each employee must be equipped with a medical mask, as well as a temporary transparent type barrier installed at the reception desk to avoid the risk of drip infection as much as possible;

[image: image3.png]


o
Cleaning staff should avoid close contact with guests. They should wear gloves during cleaning and before handling and removing gloves to perform hand hygiene (washing with water and soap, or treatment using an alcohol-based hand rub (ABHR)).

Additional security measures during cleaning:
o
Clean hotel rooms once a day, at a time when the visitor is not in the room;
o First, clean the relatively clean area, then more contaminated areas;
o Dry sweeping and dust removal are not allowed to avoid entering of dust and microorganisms in to the air and clean surfaces;
o
Particular attention should be paid to cleaning the frequently touched surfaces (for example, bed handles, bedside-tables) and cleaning and disinfection of frequently contaminating sanitary areas (shower rooms/ bathrooms and toilets) as necessary;
o After completing each cleaning or disinfection procedure, keep a logbook of the important actions and measures carried out

o Wrap remote control in disposable protective clear bags;
o
After check-out of the guest from the hotel, ensure housekeeping and cleaning of the rooms according to the following principle:
          Disinfection, 4-hour ventilation, cleaning/housekeeping;
          Any surfaces that become soiled with respiratory secretions or other organic matter, such as toilet, hand washing basins, and baths will be cleaned with a regular household disinfectant solution containing 0.1% sodium hypochlorite;
          Surfaces will be rinsed with clean water after 10 minutes’ contact time for chlorine;


Provide additional training to service personnel - rules for application, and storage of high concentration agents;
o  When use of bleach is not suitable, e.g. telephone, remote control equipment, door handlings, buttons in the elevator, etc. then alcohol 70% could be used.

o When pertinent, disinfect properly non-porous cleaning materials with 0.5% sodium hypochlorite solution, in accordance with the law;
o
In case of the need for a technician / engineer to be in the guest's room, equip him/her with appropriate personal protective equipment: face shield / goggles, mask, gloves.

PPE for cleaners and kitchen staff:
o Disposable medical mask;
o Special uniform and full-length long-sleeved disposable gown;
o Special/thick gloves (multiple-use);
o Eye protection (goggles or face shield);
o Special closed shoes.
Optional cleaning programs:
In order to ensure the health and safety of the hotel staff and guests, suspend the room cleaning services temporarily, upon the guests’ request. If tidying the room is a necessity, the service should be provided in the absence of a guest in the room.

Monitoring of guests who are possibly ill with Coronavirus:
o
If any visitor to the hotel has symptoms indicative of Coronavirus, the hotel staff is obliged to notify the 112 service hotline immediately to that effect

o
In such a case, the staff should avoid close contact with these guests, and for the guest, a temporary isolated room should be set aside before making the appropriate decision to reduce contact with other guests;
o In case the hotel staff has to contact a symptomatic person (eg food supply, cleaning), it is important to maintain a proper distance and use special protective equipment;
o 
For situations where a guest with a suspected symptom is present and/or has left the establishment, a special cleaning and disinfection action plan should apply, which involves a complete disinfection of the room and thorough ventilation before cleaning the room. Only after these procedures should the room be cleaned / tidied; 

o
Cleaning and tidying staff should notify the management or reception department or administration of any incidents, including the presence of allegedly ill guests in the rooms.

Requirements for Employers:
o
The employer is obliged to provide the employees with appropriate personal protective equipment (PPE):
         Mask;
         Gloves;
         If necessary, goggles and / or face shield;
         In case of specific work - overalls.
o
Provide complete information on the use of hygiene and personal protective equipment in an accessible, visible place for employees, including the use of hand hygiene, masks, wipes and gloves, as well as their application, removal and discard (disposal of waste in containers);
o
Ensure waste management in accordance with the requirements of the legislation. Do not allow containers to overflow or use PPE when emptying them. Ensure safe handling and disposal of waste through the appropriate person/service;
o
Provide accurate information on cleaning hygiene practices and safe measures, as well as the rules for the use of detergents / disinfectants and the use of personal protective equipment to staff / hotel cleaning staff;
o
Monitor frequency and quality of cleaning and disinfection procedure by the staff;
o
The employer is obliged to monitor implementation of the recommendations set out in this Rule.
Requirements for visitors:
o Wear a mask in enclosed spaces of the hotel territory;
o Observe hygiene rules.
Requirements for Employees:
Regular and thorough hand hygiene is the best way to protect yourself from most viruses, so it is important to take the following steps at work:

o Follow the hygiene rules in your workplace;
o
Refrain from shaking hands with each other when greeting and avoid contact with others (touch, etc.);
o Avoid gathering, follow the recommendation by maintaining a safe distance (not less than 2 m);
o
When implementing work, completely use the personal protective equipment provided by the employer;
o
At the beginning and end times, clean the work areas and the tools you use during the work process with disinfectants;
o Use hand sanitizers containing 70% alcohol if you can't wash and dry your hands. Remember that washing your hands with soap and water is preferable;
o
Cover mouth and nose with bent elbow or tissue when coughing or sneezing. The used tissue should be disposed of immediately in a bin;
o
Avoid touching your eyes, nose or mouth. During the work period, wear tight hairstyle to limit the touch of hair and face as much as possible.
[image: image4.png]


[image: image1.jpg]©335¢)380m0 0bgeHBGo0bogol ©333035380MEOm: Q1505 <, 116 001




[image: image5.jpg]CoV.





